==================================

Avery Berkel 6700 family of scales

==================================

07/23/2008

Scales need to be configured to the following communications settings.

IMPORTANT!

it is the responsibility of the end user to insure the scale is calibrated and certified.
Communications

Baud: 9600

Bits: 7

Parity: None

Stop Bits:1

Terminal Form Configuration

PS3TL

field sl 2 (NCI 3820 protocol)

PSTL2

field Set Scale COMM Port# (choose physical port)
PLU Configuration for weighed Item example

Example:

PLU 31139 

PLU Long Name Salad Bar Small 

PLU Short Name Salad 1

price field #1 448 ($4.48 dollar amount per unit)

price field #2 2   (tare weight)

Classification code 2

Prompt for modes -1

Use 

Place PLU on desired preset mask use FDNPS

reload terminal to update configuration

Scale should be leveled and zeroed.

place item on scale, select PLU item on menu, weight is picked up automatically.

or

select PLU item on menu, place item on scale, weight is picked up automatically.

or 

select PLU item on menu, enter weight manually.

